Cloud-based control APP - Low-voltage control

I. 4G Cloud Control - APP Control

1. Cloud-based APP control software

2. Login Interface

2.1 . Login Interface

2.2 Login (4G Cloud Control)

Enter your account and password to log in and enter the system.

2.3 Registration

Enter your new account, password, and mobile phone number (you will receive a verification code if you forget your password) , then click Register.

2.4 Forgot Password

2.4.1 Enter your account.

2.4.2 Obtain the verification code (receive the verification code on the mobile phone during registration) and fill in the verification code.

2.4.3 Edit the new password and reset the password.

2.5 Bluetooth control (with high-voltage module)

2.5.1 Turn on the phone's Bluetooth function and click the Bluetooth button.

2.5.2 To access the search interface, first connect the device , then click to enter Bluetooth control.

2.5.3 Debugging operations in the Bluetooth control interface.

2.6 Language Settings

Click the language settings button to switch between Chinese and English.

II. 4G Cloud Control Operation

1. Log in with your account on the homepage to access the homepage.

1.1 Selecting a Project: When an account has multiple projects, you need to select the project to operate.

1.2 Equipment Selection: High-voltage/Low-voltage Operation and Debugging

1.3 Add a device: Click the " +" button at the bottom to add a device.

1.3.1 Add UID: Enter manually or scan the device QR code

1.3.2 Numbered List: Add to list

1.3.3 Add to Device List: Click Add to Device List (go to homepage)

1.4 Delete Device: Swipe right on the device and tap Delete Device.

2. Low-voltage operation

1. Function

1.1 Click the function button in the upper left corner

1.2 Function Directory

1. SD card effect

2. Program schedule

3. Sub-control coding

4. Hardware Configuration

5. DMX coding

6. Debugging function

7. Program renaming

8. File Download

2. Detailed Operation Instructions

2.1 Local Effects — SD Card Effects

2.1.1 Functional Testing

1. Currently playing /Paused

2. In loop / non-loop

3. GPS is on / off

4. Timer is on / off

5. Independent playback

6. Save the current status

7. Restart the main controller

2.1.2 Program/Speed Adjustment

1. Switching programs: Switching programs from the SD card.

2. Switching speed: Adjustable from 4 frames/second to 30 frames/second

2.1.3 Dimming/Color Adjustment

1. Brightness Adjustment

2. Channel Color Adjustment

3. Save (Click Save, then adjust dimming settings)

The setting will be saved to the fixed controller.

2.2 Program scheduling

2.2.1 User Interface

Timer interface Timer list

2.2.2 Timed Operation

1. Regular programming: Programs broadcast outside of scheduled times.

2. Scheduled Programs: Programs that are played within a specified time period.

3. Time Setting

Schedule by date range, by date, by weekday, or by day.

Schedule a timer for a specific date, select the day of the week, or schedule a fixed timer every day.

4. Playback Time

The specific time period in the timer is *hour/*minute/*second ---- *hour/*minute/*second (24-hour format)

2.2.3 Timer List

1. Download List: Scheduled list of software operations.

2. Download: Click to download the timed settings to your device.

3. Clear (Download List): Click to clear the timer settings in the download list.

4. Read list: The current device's timer list.

5. Read: Read the current timing information from the device.

6. Clear (Read List): Click to clear the timed information in the read list.

7. Copy to list: Copy the device's timing information to the download list.

2.3 Sub-control coding

2.3.1 Querying Sub-control

1. Sub-control number

Starting Sub-control Number: Set the starting number

Successful sub-controllers: The number of sub-controllers with successful serial numbers.

Last unit number: Verify if the number is correct.

(It is necessary to confirm whether the last sub-controller number matches the feedback information.)

2. Query the control panel

Check the online status of the control unit: online or offline.

2.3.2 Test control

Main and sub-controller communication data test

- Start (Sub-control) ID: Sub-control test number

- Sub-control quantity: Number of tests conducted at one time

- Test results: Packet loss rate 0-100%

Packet loss rate of 0: Excellent communication quality

Packet loss rate 100%: Communication completely lost.

2.4 Hardware Configuration

1. Read device time

2. Calibrate equipment time

3. Encryption: Decryption, Level 1 Encryption, Level 2 Encryption

4. Update firmware

5. Cyclic Synchronous Opening

6. Loop synchronization switch

7. Restore factory settings

8. Query capacity (SD card capacity)

9. Query version (master version)

2.5 DMX coding

1. DMX write address 2. DMX test address

1. Chip Model 1. Channel Spacing

2. Address writing by channel / Address writing by number of lights 2. Specify sub-controllers: ALL ( All sub-controllers) / Selectable sub-controllers

3. Starting channel/ starting point number, default 1. 3. Specify port: ALL ( all ports) / selectable sub-controller.

4. Interval Channel 4. Manual Test

5. Specify sub-controllers: ALL ( All sub-controllers) / Selectable sub-controllers   " - " or " + " / Compensation Mode

6. Specify Port: ALL ( All Ports) / Selectable Sub-controller  5. Reset

6. Automated Testing

2.6 Debugging Function

- IC Model: Select the lighting IC for debugging

- Number of channels: Number of lighting channels

- Playback speed

1. Built-in effects 2. Test channel 3. Static dimming 4. Count function

2.7 Program Renaming (SD Card Programs)

2.8 File Download

2.8.1 Interface

Device list, file upload, file download progress, device program list

2.8.2 Equipment List

Query capacity: Query the device's memory card capacity.

Query program number: Query the number of programs on the device's memory card.

Format SD: Format the device memory card

2.8.3 File Upload

Select file — Find the file's path on your phone

Upload File — Click to upload the file to the server.

Download file 2.8.4

Program list: A list of uploaded files stored on the server.

File: File Name (Display)

File size (displayed)

Program ID ----- Can be modified

Note 1: If the program number is duplicated with a program on the memory card, the downloaded file will be overwritten.

Duplicate files

Download Files : Select the program files, click to download the files from the server.

Load it into the device's memory card.

Fill in program number: After clicking, the file in the program list will be automatically filled with the program number.

Number.

Clear program ID : Clicking this will clear the program ID from the file in the program list.

2.8.5 Progress List

You can check the file download progress.

Download speed:

Download progress:

Decompression progress:

Pause: Clicking this will pause the download.

Resume: Clicking this will resume the paused download.

Cancel: Clicking this will cancel the download.

2.8.6 Program List

The device's current program list and operation

Delete program: Edit program