Cloud Control 4.0 Low-Voltage Lighting - Computer Terminal

I. Login

1. Cloud-based software - PC control

2. Click to log in to the "Smart Cloud Control System" — Lighting (red box)

3. Go to the homepage (navigation page) --- click on low-voltage lighting.

4. Enter " Low Voltage Lighting" to view the low voltage devices under the current account, including their online status, playback status, and timer status.

II. Debugging

1. Low-voltage lighting interface

- Search and Retrieval Equipment

- Add device: Click to add a device.

fill in:

- Device ID (Enter the controller's UID number)

- Device Name (Can be named)

- Specify Project (Select a project and add the equipment to it)

- Device communication card (enter the device's 4G SIM card number)

2. Debugging Interface

1. Click the slider on the right to open the debugging interface.

2. Equipment Operation

1. Program Switching: SD Card Programs

2. Command Synchronization: Multiple devices execute commands synchronously.

3. Playback speed: 16 levels selectable (4 frames/s - 30 frames/s)

4. Function buttons

Play

Pause playback

cycle

Non-cyclic

Turn on GPS

Turn off GPS

Start timer

Turn off timer

Self-play

Save current

Restart the main controller

5. Dimming

3. Equipment Configuration

3.1 . Program scheduling

1. Turn remote timer on/off

2. Remote timer settings

Weekday broadcast: Programs broadcast without a set time or schedule.

Time range: Set the time in hours/minutes/seconds.

By Week: (Set weekly) Schedule

By date: (a specific day) scheduled

Schedule by day: (Daily setting)

By date range: (specific days, i.e., special holidays) Timed

Scheduled playback: Programs that are played at a set time.

3. Write to device: Download the timing settings to the device.

3.2 . Auxiliary Function 1 : Decryption, Level 1 Encryption, Level 2 Encryption, Loop Synchronization On, Loop Synchronization Off, Version Query, Capacity Query, Switch to 3.0

3.3 . Auxiliary Function Two : Sub-controller Numbering, Sub-controller Online Testing, Sub-controller Packet Loss Rate Testing

3. 4. Program renaming

4. Equipment debugging

4.1. DMX Settings: DMX Address Writing, Testing DMX Address

4.2 . Debugging functions : Built-in animation, test channel, static dimming, and point counting function.

III. Files

1. Click the file download button

2. Enter the program download section

  - Select the device : Ensure the device is online.

  - Click "Select File"

2.3. Locate the file on your computer.

2.4 Click " View Details"

1. Program Editing: Allows users to change program order, add programs, and replace programs.

2. Select File: Reselect and change the XBIN file.

3. Start download, pause download, resume download, cancel download

2.5 File Download: Select the files , arrange the program numbers, and click "Start Download." The cloud control system will download the files sequentially.

2.6 File decompression; After the file is downloaded , the controller will automatically decompress the file; Once the download is complete, the controller will restart the device.

2.7 The controller is working normally; playback is complete .